## liste
LOCATION | DESCRIPTION | PRODUCT NO | FROM | TO | QTY | ITEM NO
GC Open flue AIMS
REPERE | DESIGNATION | MODELE | SN A PARTIR DE | SN JUSQU'à | QTE | REFERENCE
BURNER ASSEMBLY OCTOBER 2010
5 | BRULEUR FURIGAS |  |  |  |  | AGA2168
10 | PILOT HEAD ASY NG 2/4 OVN AIMS |  |  |  |  | AGA5485
10 | SUPP+INJ PILOTE+BOUGIE AGA GC MK2 |  |  |  |  | AGA5642
15 | THERMOCOUPLE
20 | BURNER DOOR ASSEMBLY
25 | SIGHT GLASS FRAME |  |  |  |  | AGG1094
30 | JOINT VITRE CONTRÔLE |  |  |  |  | AGA2204
35 | VITRE DE CONTRÔLE |  |  |  |  | AGA1236
40 | INJECTOR BRAY CAT82 SIZE 400 |  |  |  |  | AGA4216
40 | INJECTEUR PROPANE (170 CAT92) |  |  |  |  | AGA4217
45 | INJ FEED PIPE 2/4 OVN AIMS O/F |  |  |  |  | AGAG4M212007
50 | PIPE-PILOT FEED 2/4 OVN OF&PF |  |  |  |  | AGA5978
55 | SOLENOID FEED PIPE
60 | VANNE GAZ |  |  |  |  | AGA5497
60A | BYPASS SCREW LPG 65 (MAXITROL) |  |  |  |  | AGA4652
60B | GAS VALVE BYPASS SCREW NG 110 |  |  |  |  | AGA4872
65 | 3/8BSP MX8MM CPLNG MG13-8-243 |  |  |  |  | AGR5951
70 | GAS VALVE MOUNTING BRACKET
75 | GAS VALVE SPACER
80 | INSUL. PAD - VALVE BAFFLE AGA |  |  |  |  | AGA2162
85 | VANNE COUPURE GAZ |  |  |  |  | AGR2601
90 | ADAPT.3/8X1/4 BSP D70/163/243 |  |  |  |  | AGA4602
95 | 3/8” M/F ELBOW
100 | SOLENOID (N/O) |  |  |  |  | AGA5387
105 | COUDE MG23/8/163 + OLIVE+ ECROU |  |  |  |  | AGA3518
110 | PILOT FIXING BRACKET
115 | BRN DOOR INSULATION PAD MK2 |  |  |  |  | AGA6152
120 | BRACKET - STAT MOUNTING |  |  |  |  | AGA2664
125 | ELBOW 15X1/2 BSP F MG22/15/322 |  |  |  |  | AGAG4M210685
TOP PLATE, INSULATING LIDS OCTOBER 2010
1 | COUVERCLE FOYER ST/ST |  |  |  |  | AGA3614
INSULATING LID CI (NOT SHOWN)
| DOME ASSY RH(COMMON) ST/ST |  |  |  |  | AGA5752
| VE DOME ASSY & 2 X GRUB SCREWS |  |  |  |  | AGA4639
2 | DOME INSULATION PAD 50MM |  |  |  |  | AGA5074
3 | VIS FIXATION POINTEAU CHARN COUV |  |  |  |  | AGA4816
4 | INSULATING LID OUTER RING AGA |  |  |  |  | AGA4825
5 | POIGNEE COUVERCLE |  |  |  |  | AGR3028
6 | RONDELLE POIGNEE COUVERCLE |  |  |  |  | AGR3029
7 | DISQUE ISOLANT COUVERLE |  |  |  |  | AGA1632
8 | ANNEAU INTERNE COUVERCLE |  |  |  |  | AGA1647
9 | JOINT DE COUVERCLE |  |  |  |  | AGA1863
10 | BRACKET - DOME CLAMPING |  |  |  |  | AGA3636
13 | ANNEAU EXTERNE PLAQUE |  |  |  |  | AGA1342
14 | CACHE TROU |  |  |  |  | AGA2119
15 | ENTRETOISE TARAUDEE |  |  |  |  | AGA2123
16 | DESSUS NOIR |  |  |  |  | AGA2246
17 | NUT M8 HEX FULL Z/P |  |  |  |  | AGR2630
18 | ALTHREAD M8 X 35MM LG Z/P AGA |  |  |  |  | AGA4192
19 | WASHER M8 EXT SHAKEPROOF S/S |  |  |  |  | AGA3664
20 | EMBOUT FIXATION BARRE DECO |  |  |  |  | AGA2314
21 | EMBOUT BARRE DECORATIVE |  |  |  |  | AGA2975
22 | BARRE TORCHON 900MM AGA 2/2 FOURS |  |  |  |  | AGA1630
30 | COLLIER CHEMINEE |  |  |  |  | AGA1317
31 | NO.2 T'SEAL ROPE 5MMX455M LG |  |  |  |  | AGJTHR20393
32 | FLUE OUTLET NOZZLE |  |  |  |  | AGA1316
33 | BRACKET FLUE DIVERTOR FXG AGA |  |  |  |  | AGA2206
34 | FLUE DIVERTER LOCATING RING |  |  |  |  | AGA1334
35 | SHROUD FILLER PLATE |  |  |  |  | AGA1354
36 | DIVERTER HOOD (4INCH STD FLUE) |  |  |  |  | AGA2990
37 | BRACKET - PHIAL SUPPORT |  |  |  |  | AGA2872
38 | CLIP - STAT PHIAL LOC'N 1748 |  |  |  |  | AGA3031
39 | GRILLE PAIN (TOASTER) |  |  |  |  | AGA1843
40 | BROSSE METALLIQUE |  |  |  |  | AGA1841
41 | CHARNIERE COUVERCLE SANS RESSORT |  |  |  |  | AGA4641
41A | SUPP + INJECT. PILOT GN |  |  |  |  | AGA4042
41B | CHARNIERE COUVERCLE+RESSORT FROM M06-170 |  |  |  |  | AGA5157
42 | PART OF ITEM 11 & 11A
43 | PART OF ITEM 11 & 11A
44 | SPINDLE SLEEVE (PART OF ITEM 11 & 11A)
45 | GRUB SCREW M5 X 16 LG |  |  |  |  | AGA5404
46 | RESSORT CHARNIERE COUVERCLE |  |  |  |  | AGA3646
47 | ADJUSTER BEARING - AGA HINGE |  |  |  |  | AGA4658
48 | PART OF ITEM 11 & 11A
49 | JOINT CHARNIERE COUV. |  |  |  |  | AGA2589
49A | GASKET HINGE BLOCK V.E. LIDS (FROM M06-170)
OVENS AND ACCESSORIES, SIMMERING PLATE FEBRUARY 2011
1 | SIMMERING PLATE GAS-FIRED |  |  |  |  | AGA1328
2 | ROASTING OVEN ASSY NF GAS MK2 |  |  |  |  | AGA3537
3 | T/C RETAINING BRACKET GAS AIMS |  |  |  |  | AGA5388
| STAT PHIAL SUPPORT ASSY FROM MAY 2000 |  |  |  |  | AGA3723
5 | SCW CSK HD M12 X 30MM LG Z/P |  |  |  |  | AGA2068
6 | NUT SQUARE M12 Z/P |  |  |  |  | AGA3639
7 | PLAT A ROTIR (S) |  |  |  |  | AGA3284
8 | GRILLE PLAT A ROTIR (S) |  |  |  |  | AGA2312
9 | JOINT D:9MM L:1110 MM |  |  |  |  | AGA2961
10 | M12 X 40MM CUP PNT SCKT HEAD |  |  |  |  | AGKGRB500338
11 | SIMMERING OVEN ASSY OIL/GAS UK |  |  |  |  | AGA1476
12 | GILLE PLAT A ROTIR (L) |  |  |  |  | AGA2313
13 | PLAT A ROTIR (L) |  |  |  |  | AGA3285
14 | GRILLE FOUR |  |  |  |  | AGA1282
15 | ECROU 25MM CONDUIT HEX |  |  |  |  | AGA3469
16 | GUIDE THERMOCOUPLE |  |  |  |  | AGA1293
17 | HEAT CONDUCTING PLATE |  |  |  |  | AGA2656
18 | JOITN TRESSE |  |  |  |  | AGA1856
19 | CHEMINEE FOUR |  |  |  |  | AGA2929
20 | M12 X 40MM CUP PNT SCKT HEAD |  |  |  |  | AGKGRB500338
21 | JOINT CORPS DE CHAUFFE |  |  |  |  | AGA2308
22 | BOTTOM HALF - FLUE MANIFOLD - SEE 28
23 | TOP HALF - FLUE MANIFOLD - SEE 28
24 | JOINT CONDUIT VENTILATION |  |  |  |  | AGA2306
25 | BRACKET - PHIAL TUBE |  |  |  |  | AGA3277
26 | PHIAL GUIDE TUBE C/W LOCKNUTS |  |  |  |  | AGA2671
27 | LOCKNUT M20 CONDUIT GALV |  |  |  |  | AGA2653
28 | FLUE MANIFOLD C/W WASHERS & SCREWS |  |  |  |  | AGA2662
HOTSPOT, FIRE BARREL AND BURNER CHAMBER ASSEMBLY OCTOBER 2010
1 | SCW M12 X 130MM HEX HD Z/P |  |  |  |  | AGA3637
2 | NUT SQUARE M12 Z/P |  |  |  |  | AGA3639
3 | OUTER BARREL BRACKET(82065)AGA |  |  |  |  | AGA1346
4 | PLAQUE FONTE |  |  |  |  | AGA5914
5 | OUTER BARREL ONE PIECE GC/GE |  |  |  |  | AGA2419
6 | STUD - BARREL FIXING |  |  |  |  | AGA3289
7 | BARREL FIXING CLAMP |  |  |  |  | AGA3166
8 | BAFFLE PLATE PLAIN |  |  |  |  | AGA1525
9 | JOINT BARIL |  |  |  |  | AGA1854
10 | BURNER CHAMBER ASSY |  |  |  |  | AGA2430
11 | OUTER BARREL SEALING RING |  |  |  |  | AGA2648
FRONT PLATES AND DOORS OCTOBER 2010
1 | TH/METER RETG PLT+SCR/NUT/TUB |  |  |  |  | AGA2115
2 | THERMOMETRE UP TO M10-048 |  |  |  |  | AGA2157
2A | THERMOMETER UP TO M10-048 |  |  |  |  | AGA1314
2B | THERMOMETRE FACTICE AIMS FROM M10-048 |  |  |  |  | AGA5610
3 | REVETEMENT INT. PORTE DRT |  |  |  |  | AGA1482
4 | JOINT PORTE (L = 2M) UP TO M01-080 |  |  |  |  | AGR5627
| JOINT DE PORTE FROM M01-080 |  |  |  |  | AGAG4M997916
| JOINT DE PORTE FROM M01-080 |  |  |  |  | AGAG4M997917
5 | PTE CPTE HT DRT (COULEUR) |  |  |  |  | AGA1709
5A | OVENDOOR COMP BOTTOM RH MOD74 |  |  |  |  | AGA1710
6 | COUVERCLE ISOLAT° PORTE G (UP TO MAY2000) |  |  |  |  | AGA1483
| REVETEMENT INT. PORTE DRT (FROM MAY 2000) |  |  |  |  | AGA1482
7 | OUTER DOOR |  |  |  |  | AGA2391
8 | INST.LIGHTING AGA GAS O/F UK |  |  |  |  | AGA3053
9 | FRONT PLATE COOKER (UP TO M02-081)
| FRONT PLATE OIL/GAS FROM M02-081) |  |  |  |  | AGA4383
| F/PLATE ASSY 2 & 4 OVENS FROM M02-081 |  |  |  |  | AGA2322
10 | BADGE AGA |  |  |  |  | AGA2274
| PLAQUE MARQUE AGA |  |  |  |  | AGA2435
14 | PYROTAPE 15MMX3MMX5.5M |  |  |  |  | AGA2860
15 | OVEN FRAME KIT -2/4OVEN |  |  |  |  | AGA4784
16 | PLATE - GAS PIPE SEALING |  |  |  |  | AGA2179
17 | DATA PLAQUE - NG
DATA PLAQUE - LPG
18 | FERMETURE DE PORTE |  |  |  |  | AGA3956
19 | JOINT FERMETURE PORTE DC3/TC3 |  |  |  |  | AGA4706
20 | TURRET LOCKNUT M5X0.8 |  |  |  |  | AGA4707
21 | LENS COVER
22 | CONTROL PANEL CVR 2/4 OVN AIMS |  |  |  |  | AGA5455
23 | GAS AIMS CONTROL CIRCUIT BOARD |  |  |  |  | AGA5381
24 | CABLE CLAMP |  |  |  |  | AGR2190
25 | PCB SPACER
26 | INSULATION PAD GAS AIMS |  |  |  |  | AGA5599
27 | PCB MNTG PLATE GASKET GAS AIMS |  |  |  |  | AGA5839
28 | CONTROLS MOUNTING PLATE
29 | GROMMET - CONTROLS MOUNTING PLATE
30 | GASKET - CONTROLS MOUNTING PLATE
31 | CABLE GUIDE O/F GAS |  |  |  |  | AGA5433
32 | GAS AIMS HHC WITHOUT HEAT IND UP TO M10-048 |  |  |  |  | AGA5382
32A | H.I GAS AIMS HANDSET FROM M10-048 |  |  |  |  | AGA5609
33 | THERMOCOUPLE FOUR |  |  |  |  | AGA5177
BASE, SIDES AND BACKPLATES OCTOBER 2010
1 | RH SIDE PLATE - AGA OIL/GAS |  |  |  |  | AGA2983
2 | TIGE FILTÉE AGA |  |  |  |  | AGA2118
3 | OVEN STAY ROD M8 X 490MM SC |  |  |  |  | AGA1657
4 | ENTRETOISE TARAUDEE |  |  |  |  | AGA5750
4A | NUT M12 HEX FULL ZP |  |  |  |  | AGR5022
4B | M12 C/SNK SCREW x 100mm
6 | FILLER BASEPLATE LARGE |  |  |  |  | AGA2373
7 | FILLER BASE SMALL (MED) |  |  |  |  | AGA4459
8 | PLATE-RH BASE FILLER(LONG) AGA |  |  |  |  | AGA2374
9 | PLATE - OUTLET BLANK'G |  |  |  |  | AGA3544
10 | SOCLE CUISINIERE |  |  |  |  | AGAG5M210560D
11 | LH SIDE PLATE - AGA OIL/GAS |  |  |  |  | AGA2982
12 | BACKPLATE |  |  |  |  | AGA1612