## liste
LOCATION | DESCRIPTION | PRODUCT NO | FROM | TO | QTY | ITEM NO
GC ou GE Power Flue
REPERE | DESIGNATION | MODELE | SN A PARTIR DE | SN JUSQU'à | QTE | REFERENCE
SIT GAS BURNER ASSEMBLY MAY 2011
1 | VANNE COUPURE GAZ |  |  |  |  | AGA1219
2 | TETINE 1/4BSPX3/8BSP AGA GC/GE |  |  |  |  | AGA2062
3 | ELBOW 1/4" F&F MI AGA GAS |  |  |  |  | AGA2192
4 | TETINE 1/4BSPX3/8BSP AGA GC/GE |  |  |  |  | AGA2062
5 | SOLENOID CONNECTING TUBE |  |  |  |  | AGA3517
6 | SOLENOIDE BRULEUR VANNE SIT GC PF |  |  |  |  | AGR3218
7 | COUDE MG23/8/163 + OLIVE+ ECROU |  |  |  |  | AGA3518
9 | BURNER FEED TUBE |  |  |  |  | AGA3011
10 | ELECTROVANNE GAZ SIT |  |  |  |  | AGA2160
12 | VIS RALENTI GAZ NAT 100 BYPASS GC |  |  |  |  | AGA2154
| BYPASS SCW SIT 0945604 |  |  |  |  | AGA2153
| B/P SCW,0945606 (80) LPG GC/GE |  |  |  |  | AGA2155
| VIS RALENTI LPG 60 BYPASS |  |  |  |  | AGA4051
13 | SCW M5X80MM P/HD POZI |  |  |  |  | AGA2405
14 | M5 x 35 LG PAN HD SCREW
15 | SPACER - GAS VALVE |  |  |  |  | AGA2166
16 | INTERRUPTEUR POUR BOUGIE BRULEUR |  |  |  |  | AGA2172
17 | COUVERCLE EV GAZ |  |  |  |  | AGA2171
18 | BAFFLE ASSY - GAS VALVE |  |  |  |  | AGA2182
19 | INSUL. PAD - VALVE BAFFLE AGA |  |  |  |  | AGA2162
20 | WINGNUT M5 Z/P |  |  |  |  | AGG1160
21 | SIGHT GLASS FRAME |  |  |  |  | AGG1094
22 | VITRE DE CONTRÔLE |  |  |  |  | AGA1236
23 | JOINT VITRE CONTRÔLE |  |  |  |  | AGA2204
24 | INJECTEUR GAZ NAT 230 BRULEUR FOUR |  |  |  |  | AGA2300
| INJECTEUR FOUR N°180 |  |  |  |  | AGA2302
25 | JOINT PASSAGE THERMOCOUPLE BR MK2 |  |  |  |  | AGA4046
26 | GROMMET - REEVITE REF: RB16 |  |  |  |  | AGA2165
27 | 6MM TUBE NUT SIT 0958031 |  |  |  |  | AGA2199
28 | NUT & OLIVE FOR PILOT FEED TUBE (INCL IN ITEM 33)
29 | TUBULURE INJECTEUR PILOT AGA GC SIT |  |  |  |  | AGA2169
30 | INTECTEUR GAZ NAT (N°35) |  |  |  |  | AGA4047
| INJECTEUR |  |  |  |  | AGA4048
31 | THERMOCOUPLE BRULEUR FOUR |  |  |  |  | AGA2369
32 | BOUGIE BRULEUR SIT |  |  |  |  | AGA4049
32A | NUTS
32B | ELECTRODE CONNECTOR STRIP
32C | ELECTRODE HT LEAD
33 | SUPP + INJECT. PILOT GN AGA GC/GE |  |  |  |  | AGA4042
| SUPP+INJECT + BOUGIE LPG AGA GC/GE |  |  |  |  | AGA4043
34 | BURNER DOOR ASSY |  |  |  |  | AGA4482
35 | THERMOSEAL NO.3 FLEX 9MMX50MTR |  |  |  |  | AGJTHR20438
36 | INSUL. PAD - BURNER DOOR GAS/AGA |  |  |  |  | AGA2163
37 | ECROU |  |  |  |  | AGR2199
38 | WASHER M6 X 20 X 1.6MM ST/ST |  |  |  |  | AGR3983
39 | BRULEUR FURIGAS |  |  |  |  | AGA2168
TOP PLATES, 4 OVEN & HOTCUPBOARD SHROUDS OCTOBER 2010
1 | SHROUD(LH OF FAN) 4/OVEN |  |  |  |  | AGAG1M210625
2 | 5MM X 1300MM THERM NO.2 BLK |  |  |  |  | AGA1900
3 | DESSUS CUISSON |  |  |  |  | AGA2980
4 | H/C TOP PLATE ASSY P/F-30A |  |  |  |  | AGA2979
5 | SHROUD HOTCUPBOARD E |  |  |  |  | AGAE5E118772
FLUE PIPEWORK, TERMINAL & BACKPLATE OCTOBER 2010
1 | BACKPLATE - POWER FLUE |  |  |  |  | AGA3451
2 | FLUE PIPE VERT: PLASTIC COATED |  |  |  |  | AGA3007
3 | FLUE PIPE HORIZ:PLASTIC COATED |  |  |  |  | AGA3006
4 | GROMMET RB3516 |  |  |  |  | AGA3244
5 | BRACKET-FLUE PIPE P/F |  |  |  |  | AGA3540
6 | BRIDE FIXATION TUYAU |  |  |  |  | AGA2569
8 | FIXATION TUYAU EVAC |  |  |  |  | AGA2570
9 | TETINE 1/4BSPX3/8BSP AGA GC/GE |  |  |  |  | AGA2062
10 | ELBOW 1/4" F&F MI AGA GAS |  |  |  |  | AGA2192
11 | SOLENOID CONNECTING TUBE |  |  |  |  | AGA3517
12 | SOLENOIDE BRULEUR VANNE SIT GC PF |  |  |  |  | AGR3218
| SOLENOID JOHNSON 474/0700/VC01 |  |  |  |  | AGA3243
13 | COUDE MG23/8/163 + OLIVE+ ECROU |  |  |  |  | AGA3518
14 | BURNER FEED TUBE |  |  |  |  | AGA3011
15 | ECROU TUBE GAZ VEILLEUSE |  |  |  |  | AGF3002
16 | FLUE TERMINAL PLATE |  |  |  |  | AGA2995
17 | RAWPLUG NO8 X 1" LG |  |  |  |  | AGA3499
| WOODSCREW NO8 X 1" SLTD |  |  |  |  | AGA2279
18 | TERM.GUARD R/G PLAIN |  |  |  |  | AGA1233
19 | TUBE DE COLLE |  |  |  |  | AGA2575
20 | TERMINAL GUARD - UP T0 M06-170
20A | TERM GUARD 11X11X6 FROM M06-170 |  |  |  |  | AGA2227
21 | BRACKET-FLUE PIPE |  |  |  |  | AGA3539
22 | BRIDE DE FIXATION |  |  |  |  | AGA3008
23 | SOLENOID PLUG&LEAD P/F CE AGA |  |  |  |  | AGA4212
| SOLENOID PLUG&LEAD P/F AGA USA |  |  |  |  | AGA3872
25 | CABLE GUIDE TUBE |  |  |  |  | AGA2635
26 | CABLE GUIDE TUBE CLIP |  |  |  |  | AGA3013
27 | RAWL PLUG AND WOOD SCREW No. 12
FAN ASSEMBLY & COMPONENTS INC. SHROUDS (UP TO M04-179) OCTOBER 2010
1 | CORNER STAY NUT (U.K.)
| ENTRETOISE TARAUDEE |  |  |  |  | AGA2123
2 | CACHE TROU |  |  |  |  | AGA2119
3 | MASKING PLATE-LH SHROUD |  |  |  |  | AGA3547
4 | FAN SHROUD LH (18034L) |  |  |  |  | AGA6062
5 | GRILLE VENTILATEUR |  |  |  |  | AGA2996
6 | FAN SHROUD GAS P/F |  |  |  |  | AGA4599
7 | RH SHROUD GAS P/F |  |  |  |  | AGAG5E210376
8 | 5MM X 1300MM THERM NO.2 BLK |  |  |  |  | AGA1900
9 | ALTHREAD M5 X 12MM LG |  |  |  |  | AGA2986
10 | CENTRE SHROUD TOP PLATE
11 | SHROUD REAR SHIELD
12 | GROMMET REEVITE REF NO PV56A |  |  |  |  | AGR2719
13 | BAFFLE - FAN SHROUD P/F |  |  |  |  | AGA3541
14 | FLUE TEMPERATURE STAT - 60ºC (U.K.)
| T'STAT 60'CUTOUT FLUE TEMP. |  |  |  |  | AGA3242
15 | THERMOSTAT SURCHAUFFE 80° |  |  |  |  | AGA3034
| THERMOSTAT SURCHAUFFE 80° |  |  |  |  | AGA3237
16 | BRACKET FLUE STAT MNTG.P/F AGA |  |  |  |  | AGA3029
17 | FIXING BRKT - BOILER LH |  |  |  |  | AGR2891
18 | 12WAY TERMINAL BLOCK MET 500A |  |  |  |  | AGA2471
19 | TERMINAL BLOCK LABEL |  |  |  |  | AGA5448
20 | CABLE CLAMP |  |  |  |  | AGR2190
22 | GROMMET REEVITE REF NO PV56A |  |  |  |  | AGR2719
23 | END BRACKET - SHROUD P/F AGA |  |  |  |  | AGA3543
24 | SHROUD STAY ROD 5/16" |  |  |  |  | AGA1102
25 | PLATE-SHROUD MASKING P/F AGA |  |  |  |  | AGA3546
26 | SHROUD - FLUE MIXING P/F |  |  |  |  | AGA2999
27 | BRACKET - STAT PHIAL P/F |  |  |  |  | AGA3030
28 | FLUE OUTLET BAFFLE
29 | FLUE OUTLET NOZZLE
30 | FLUE NOZZLE GASKET |  |  |  |  | AGA3038
31 | FLUE DUCT
32 | PLAQUE ISOLATION VENTILATEUR |  |  |  |  | AGA3037
33 | FAN MOUNTING PLATE |  |  |  |  | AGA2988
34 | JOINT ETANCHEITE VENTIL AGA PF |  |  |  |  | AGC1591
35 | RACCORD TUYAU EVAC. |  |  |  |  | AGA2571
36 | 'O' RING |  |  |  |  | AGHG4M410180
37 | COUDE EVACUATION 90° |  |  |  |  | AGA2574
38 | ADAPTATEUR CONDUIT VENTIL |  |  |  |  | AGA2989
39 | JOINT VENTILATEUR (SORTIE) |  |  |  |  | AGA3513
40 | VENTILATEUR EXTRACTION |  |  |  |  | AGA2992
| FLUE FAN(110V)221-036 |  |  |  |  | AGA3218
| COUDE EVACUATION 45° |  |  |  |  | AGA2626
| TUYAU EVACUATION 1M |  |  |  |  | AGA2572
| TUYAU EVACUATION 2M |  |  |  |  | AGA2573
| JOINT TUYAU EVAC. |  |  |  |  | AGA2631
| RACCORD TUYAU EVAC. |  |  |  |  | AGA2571
FAN ASSEMBLY & COMPONENTS INC. SHROUDS (FROM M04-179) OCTOBER 2010
1 | ENTRETOISE TARAUDEE |  |  |  |  | AGA2123
2 | CACHE TROU |  |  |  |  | AGA2119
3 | MASKING PLATE-LH SHROUD |  |  |  |  | AGA3547
4 | FAN SHROUD LH (18034L) |  |  |  |  | AGA6062
5 | FRONT COVER(PNTD)-SHRD PF 3OVN |  |  |  |  | AGA4860
6 | FAN SHROUD GAS P/F |  |  |  |  | AGA4599
7 | RH SHROUD GAS P/F |  |  |  |  | AGAG5E210376
8 | 5MM X 1300MM THERM NO.2 BLK |  |  |  |  | AGA1900
9 | ALTHREAD M5 X 12MM LG |  |  |  |  | AGA2986
10 | COVER ASSY(PNT)-SHRD P/F 3/OVN |  |  |  |  | AGA5156
11 | REAR SHIELD ASSY |  |  |  |  | AGA4708
12 | GROMMET REEVITE REF NO PV56A |  |  |  |  | AGR2719
13 | BAFFLE - FAN SHROUD P/F |  |  |  |  | AGA3541
14 | THERMOSTAT SURCHAUFFE 75° |  |  |  |  | AGA4481
15 | THERMOSTAT SURCHAUFFE 80° |  |  |  |  | AGA3034
16 | BRACKET FLUE STAT MNTG.P/F AGA |  |  |  |  | AGA3029
17 | FIXING BRKT - BOILER LH |  |  |  |  | AGR2891
18 | 12WAY TERMINAL BLOCK MET 500A |  |  |  |  | AGA2471
19 | TERMINAL BLOCK LABEL |  |  |  |  | AGA5448
20 | CABLE CLAMP |  |  |  |  | AGR2190
22 | GROMMET REEVITE REF NO PV56A |  |  |  |  | AGR2719
23 | END BRACKET - SHROUD P/F AGA |  |  |  |  | AGA3543
24 | SHROUD STAY ROD 5/16" |  |  |  |  | AGA1102
25 | PLATE-SHROUD MASKING P/F AGA |  |  |  |  | AGA3546
26 | SHROUD - FLUE MIXING P/F GC3 |  |  |  |  | AGA4738
27 | BRACKET - STAT PHIAL P/F |  |  |  |  | AGA3030
29 | NOZZLE-FLUE OUTLET ASSY |  |  |  |  | AGA4709
30 | FLUE NOZZLE GASKET |  |  |  |  | AGA3038
31 | FLUE DUCT ASSY P/F |  |  |  |  | AGA4680
32 | PLAQUE ISOLATION VENTILATEUR |  |  |  |  | AGA3037
33 | FAN MOUNTING PLATE |  |  |  |  | AGA2988
34 | JOINT ETANCHEITE VENTIL AGA PF |  |  |  |  | AGC1591
35 | RACCORD TUYAU EVAC. |  |  |  |  | AGA2571
36 | 'O' RING |  |  |  |  | AGHG4M410180
37 | COUDE EVACUATION 90° |  |  |  |  | AGA2574
38 | ADAPTATEUR CONDUIT VENTIL |  |  |  |  | AGA2989
39 | JOINT VENTILATEUR (SORTIE) |  |  |  |  | AGA3513
40 | VENTILATEUR EXTRACTION |  |  |  |  | AGA2992
| FAN & ADAPTOR SUB ASSY - P/F AGA |  |  |  |  | AGAG1M211686
| COUDE EVACUATION 45° |  |  |  |  | AGA2626
| TUYAU EVACUATION 1M |  |  |  |  | AGA2572
| TUYAU EVACUATION 2M |  |  |  |  | AGA2573
| JOINT TUYAU EVAC. |  |  |  |  | AGA2631
| RACCORD TUYAU EVAC. |  |  |  |  | AGA2571