## liste
LOCATION | DESCRIPTION | PRODUCT NO | FROM | TO | QTY | ITEM NO
Rayburn 345 W - LPTR 512969
REPERE | DESIGNATION | MODELE | SN A PARTIR DE | SN JUSQU'à | QTE | REFERENCE
FRONT PLATE, SIDE PLATES, BACK PLATE, BASE PLATE JUILLET 2009
1 | FILL.PLT FOR LH S/PANL NOUV.SF |  |  |  |  | AGR2134
2 | LH SIDE PANEL |  |  |  |  | AGR2133
3 | BASE PLATE |  |  |  |  | AGR2479
4 | PIN BISSEL 3/16" X 1.5/8" LG |  |  |  |  | AGR6059
5 | ROPE 7 DIA
6 | ROLL PIN 3/16”
7 | ROPE 7 DIA x 120mm LG
8 | SEC AIR SEALING PLT SFNOUV/SUP |  |  |  |  | AGR1810
9 | SEC AIR FOOT PLATE 3/16276 SMF |  |  |  |  | AGR1708
10 | SEC AIR SHUT O SLIDE |  |  |  |  | AGR1893
11 | BRACKET BOILER FIXING |  |  |  |  | AGR5791
12 | DOOR CLINKER |  |  |  |  | AGR2188
12A | VOLET D'AIR |  |  |  |  | AGR2049
13 | CATCH CLINKER DOOR |  |  |  |  | AGR1615
14 | SCW 1/4 X 1" HEX HD S/S |  |  |  |  | AGR4588
15 | ASHPIT FRAME |  |  |  |  | AGR1811
16 | ROPE 7 DIA
17 | FRONT PLATE - FROM M05-144
17A | FRONT PLATE 355M - UP TO M05-144
17B | FRONT PLATE ISSUE SUPREME |  |  |  |  | AGR1923
19 | ISOLATION FOYER 98X320X4MM |  |  |  |  | AGR2248
20 | SHIELD HEAT TOP BLR BARLAN SMF |  |  |  |  | AGR2867
21 | SHIELD HEAT TOP BARLAN 4MM THK |  |  |  |  | AGR1021
22 | SEE ITEM 24
23 | LOCKNUT M8 (CLEVELOCK) |  |  |  |  | AGR2754
24 | DOOR KEEP C/W WASHER |  |  |  |  | AGR2679
25 | PLATE DAMPER POSITIONING |  |  |  |  | AGR1746
26 | VERROU CENDRIER |  |  |  |  | AGR5029
27 | STAY ROD 3/8" X 31.3/8" LG RAY |  |  |  |  | AGR1760
27A | 4 CRNR STAY RODS&NUTS RAY |  |  |  |  | AGR2088
28 | ECROU DE FIXATION |  |  |  |  | AGAR2309
29 | RH SIDE PLATE SMF/NOUV (R3573***) |  |  |  |  | AGR1635
30 | DOOR KEEP C/W WASHER UP TO M05-144 |  |  |  |  | AGR2679
31 | VERROU CENDRIER FROM M05-144 |  |  |  |  | AGR5029
TOP/BOTTOM OVEN DOOR, FIREDOOR & ASHPIT DOOR ASSYS JUILLET 2011
1 | SCREW RD HD 5/16BSW X 1.1/2" |  |  |  |  | AGR6175
2 | F/DR PROTECTION PLATE RAY SUPR |  |  |  |  | AGR2072
3 | ROCKWALL
4 | BARLAN FIREDOOR HEATSHIELD SMF |  |  |  |  | AGR1031
5 | SCW M5 X 25MM BLK HEX SET Z/P |  |  |  |  | AGKHEX50934
6 | ISOLATION FOYER 98X320X4MM |  |  |  |  | AGR2248
7 | BUTTON - HINGE (BLK-CP) SF/NOU UP TO M06-051 |  |  |  |  | AGR4720
8 | HINGE PIN UP TO M06-051 |  |  |  |  | AGR6482
8A | HINGE PIN FROM M06-051 |  |  |  |  | AGR2633
9 | RONDELLE CHARNIERE PORTE |  |  |  |  | AGA1950
10 | FIREBOX DR ASSY PRE05-144 355S |  |  |  |  | AGR3587
10A | FIREBOX DOOR ASSY POST05-144 355 FROM M05-144 |  |  |  |  | AGR5394
11 | PLATE - CATCH (BLK-CP) SF/NOU UP TO M05-144 |  |  |  |  | AGR6481
12 | POIGNEE LOQUET DE PORTE |  |  |  |  | AGR2061
13 | BAFFLE ASHPIT DOOR |  |  |  |  | AGR1616
14 | DIST PIECE BAFF PLTE LNG D/LC |  |  |  |  | AGA2331
15 | ASHPIT DOOR COMPLETE
| ASHPIT DOOR ASSY |  |  |  |  | AGR3125
16 | SEE ITEM 18
17 | SEE ITEM 18
18 | VANNE REGLAGE AIR |  |  |  |  | AGR2084
19 | M8 LOCK/NUT (NYLON INSERT) Z/P |  |  |  |  | AGR3417
20 | SIMMERING O/DR ASSY PREM01-133 |  |  |  |  | AGR2591
21 | POIGNEE PORTE + VERROUILLAGE |  |  |  |  | AGR2636
23 | DOUILLE CHARN. PLASTIQUE RAYBURN W |  |  |  |  | AGR2759
24 | HINGE PIN |  |  |  |  | AGR2633
25 | JOINT PTE FOUR INF D |  |  |  |  | AGR2641
26 | PAD - INSULATION BOTT.OVN DOOR |  |  |  |  | AGR2975
27 | LINING PANEL BOTTOM OVEN DOOR |  |  |  |  | AGR2974
28 | SCREW M6 X 25MM SLTD K/SCK CP |  |  |  |  | AGR5621
29 | SPRING - DOOR CATCH |  |  |  |  | AGR2757
30 | WASHER M6 X 12MM Z/P |  |  |  |  | AGC1392
31 | BRACKET - DOOR STOP CATCH 480K |  |  |  |  | AGR2752
32 | TOP OVEN DOOR ASSY |  |  |  |  | AGR3593
33 | THERMODIAL |  |  |  |  | AGR2432
| THERMOMETRE + JOINT |  |  |  |  | AGR5684
34 | GASKET THERMODIAL PERM AF2000 |  |  |  |  | AGR1147
35 | JOINT PORTE FOUR HG RAYBURN 480K |  |  |  |  | AGR2642
36 | PAD - INSULATION |  |  |  |  | AGR2986
37 | COUVERCLE ISOLAT° PORTE D |  |  |  |  | AGR2985
38 | JOINT PORTE FOUR HG RAYBURN 480K |  |  |  |  | AGR2642
39 | GASKET - TOP OVEN DOOR |  |  |  |  | AGJGSG341290
40 | RAYBURN BADGE (SILVER) - X.T, 300W, 345 FROM NP05-029 |  |  |  |  | AGR5290
BOILER, DAMPERS, THERMOSTATS, GRATE & RIDDLING ASSY SEPTEMBRE 2009
1 | HANDLE DAMPER ROD SMF COMP. (NLA) USE RS UP TO M08-101 |  |  |  |  | AGR1732
1A | HANDLE DAMPER ROD SMF COMP FROM M08-101 |  |  |  |  | AGRS4M301364
2 | WASHER NYLON 11.5 X 16 X 1MM |  |  |  |  | AGR4771
3 | SCW 3/16 X 3/8" GRUB UP TO M08-101 |  |  |  |  | AGR4772
3A | VIS M5 X 10MM SOCKET HD GRUB FROM M08-101 |  |  |  |  | AGR4791
4 | DAMPER SPRING WASHER
5 | FULCRUM SPRING ST.ST. N0.4 |  |  |  |  | AGH1224
6 | ROD DAMPER SMF COMP |  |  |  |  | AGRS4M41154
6A | DAMPER ROD C/W HANDLE |  |  |  |  | AGR2080
7 | PIN SPLIT 2MM DIA X 20MM LG |  |  |  |  | AGR6402
8 | DAMPER BLADE COOKER |  |  |  |  | AGR2602
9 | DAMPER BLADE BOILER |  |  |  |  | AGR2681
10 | ROPE SEAL
11 | BLR CLEANING DOOR BRKT G/NOUV |  |  |  |  | AGR1094
12 | SCW M10X16LG P/HD POZ CHEM/BLK |  |  |  |  | AGR3384
13 | PLATE CVR CLEANING ASY |  |  |  |  | AGR3031
14 | ROPE SEAL
15 | BLR CLEANING DOOR CATCH O/NOUV |  |  |  |  | AGR2414
16 | PIN SPLIT 2MM DIA X 20MM LG |  |  |  |  | AGR6402
17 | DRIVE SHAFT - STAT QW/PA/523 |  |  |  |  | AGR1719
18 | BOILER BODY MS ASSY (22690)SMF |  |  |  |  | AGR6194
19 | ROD SHORT CNR TIE |  |  |  |  | AGR1749
20 | ECROU DE FIXATION |  |  |  |  | AGAR2309
21 | THERMOSTAT |  |  |  |  | AGR2461
22 | CLAMP-ON STAT MOUNT'G BRKT SMF |  |  |  |  | AGR2187
23 | STAT &BOLT/NUTS |  |  |  |  | AGR2132
24 | SCW 2BA X 1.1/2" CH HD Z/P |  |  |  |  | AGR2438
25 | WASHER
26 | WASHER
27 | LOCKNUT 2BA Z/P |  |  |  |  | AGR2439
28 | 2BA HANKBUSH
29 | T'STAT FLAP SQ.C/W PAD SUP/NOV |  |  |  |  | AGR2125
30 | SEAL PAD (INCLUDED IN ITEM 29)
31 | WASHER
32 | LOCKNUT 2BA Z/P |  |  |  |  | AGR2439
33 | LEAD ASSY(3.1M) |  |  |  |  | AGR4609
34 | BASE PLATE BRACKET |  |  |  |  | AGR2690
35 | RAKE
36 | HERISSON |  |  |  |  | AGH1159
37 | PORTE INJECTEUR |  |  |  |  | AGR1213
38 | RIDDLING BUSH |  |  |  |  | AGR1895
39 | RIDDLING CONNECTOR |  |  |  |  | AGR1896
40 | RIDD ROD &KNOB SUPREME |  |  |  |  | AGR2081
41 | RIDDLING ROD KNOB PLASTIC 80S / 300W / 3 |  |  |  |  | AGH1192
42 | ASHPAN ASSY |  |  |  |  | AGR2489
43 | HINGE BLOCK ONLY |  |  |  |  | AGRS5M3-16177
44 | BARRE INF. EVAC. CENDRES |  |  |  |  | AGR1706
44A | KIT BARRE EVAC CENDRES |  |  |  |  | AGR2046
45 | BARRE SUP. EVAC. CENDRES |  |  |  |  | AGR1707
46 | BARRE ARR. EVAC. CENDRES |  |  |  |  | AGR1709
47 | FIREBRICK RTNG BRACKET |  |  |  |  | AGR1859
48 | CENTRE ANGLE |  |  |  |  | AGR2688
49 | DEFLECTEUR USAGE BOIS |  |  |  |  | AGR1860
HOB PLATE, INSULATING COVERS & FLUE CHAMBER UP TO M04-042 MAI 2007
1 | INSUL.COVER |  |  |  |  | AGR2766
2 | POIGNEE COUVERCLE |  |  |  |  | AGR3028
3 | CUP - HANDLE
5 | PAD - COVER INSULATION 480K |  |  |  |  | AGR2767
6 | CORPS DE COUVERCLE RAY |  |  |  |  | AGRO5E340274
7 | JOINT |  |  |  |  | AGR3457
8 | INSULATING COVER LINING PANEL - 200/300/ |  |  |  |  | AGR1614
9 | M6X6MM S/CP PNT GRUB ANA-LOK |  |  |  |  | AGA2583
10 | SCW 1/4 X 1.13/16" RSD CSK C/P |  |  |  |  | AGR5165
11 | PLAQUE DE CONDUIT |  |  |  |  | AGR1641
12 | ROPE 7 DIA x 500mm LONG
13 | BRIDE OBTURATEUR |  |  |  |  | AGR2123
14 | BUSE CHICANE |  |  |  |  | AGR1642
15 | FLUE CHAMBER ASSY |  |  |  |  | AGR1613
16 | ANGLE SEALING DAMPER |  |  |  |  | AGR2297
17 | DAMPER BLADE SUPREME NEW TYPE |  |  |  |  | AGR1789
18 | GUIDE PORTE CHICANE |  |  |  |  | AGH1723
19 | FLUE CHAMBER DOOR |  |  |  |  | AGR1785
20 | RONDELLE M5 |  |  |  |  | AGR4751
21 | LEVIER REGISTRE |  |  |  |  | AGR1743
22 | VIS LEVIER REGISTRE |  |  |  |  | AGR5116
23 | CROCHET DE PLAQUE |  |  |  |  | AGR1764
24 | HOTPLATE CUP SF RAY CKR SPARE |  |  |  |  | AGR1843
25 | HOT PLATE ASSEMBLY |  |  |  |  | AGR1593
26 | JOINT |  |  |  |  | AGR5627
27 | KNOB+CLIP THERM CONTRL SMF |  |  |  |  | AGR2476
28 | PN.4/16216 THER BEZ+F/SCW SUP |  |  |  |  | AGR2050
29 | HOB FILLER ACCESS PLATE SMF/PJ |  |  |  |  | AGRS5E315918
30 | DESSUS CUISSON |  |  |  |  | AGR5624
31 | NAMEPLATE |  |  |  |  | AGR5133
32 | DOUILLE CHARN. PLASTIQUE RAYBURN W |  |  |  |  | AGR2759
33 | HINGE SPINDLE |  |  |  |  | AGR3908
34 | CAM - LID ADJUSTMENT |  |  |  |  | AGR3909
35 | WASHER - LID CAM 400/300S RAY |  |  |  |  | AGR3826
36 | SPRING WASHER
37 | BRKT THERM DRIVE LOCATION SMF |  |  |  |  | AGR1619
38 | VIS FIXATION |  |  |  |  | AGR3689
39 | RONDELLE EMBOUT BARRE |  |  |  |  | AGA1472
40 | EMBOUT FIXATION BARRE DECO |  |  |  |  | AGA2314
41 | EMBOUT BARRE DECORATIVE |  |  |  |  | AGA2975
42 | BARRE A TORCHON CHROME |  |  |  |  | AGR1723
43 | CACHE TROU |  |  |  |  | AGR1713
44 | NUT CORNER STAY 3/8" |  |  |  |  | AGR1066
HOB PLATE, INSULATING COVERS & FLUE CHAMBER FROM M04-042 NOVEMBRE 2007
1 | INSULATING COVER
2 | POIGNEE COUVERCLE |  |  |  |  | AGR3028
3 | COIL HANDLE - CUP (SET 4)
4 | PAD - COVER INSULATION 480K |  |  |  |  | AGR2767
5 | STRAP - LID CENTRE FIXING RAY |  |  |  |  | AGR5167
6 | INSULATING COVER BASE |  |  |  |  | AGRO5E342348
7 | JOINT |  |  |  |  | AGR3457
8 | INSULATING COVER LINING PANEL - 200/300/ |  |  |  |  | AGR1614
9 | SCW 1/4 X 1.13/16" RSD CSK C/P |  |  |  |  | AGR5165
10 | HINGE COVER |  |  |  |  | AGR4564
11 | PLAQUE DE CONDUIT |  |  |  |  | AGR1641
12 | ROPE 7 DIA x 500mm LG
13 | BRIDE OBTURATEUR |  |  |  |  | AGR2123
14 | BUSE CHICANE |  |  |  |  | AGR1642
15 | FLUE CHAMBER ASSEMBLY
16 | BRCKT-DAMPER STOP S/F(R5779) |  |  |  |  | AGR5173
17 | REGISTRE CHICANE |  |  |  |  | AGRS9E301133
18 | GUIDE PORTE CHICANE |  |  |  |  | AGH1723
19 | FLUE CHAMBER DOOR |  |  |  |  | AGR1785
20 | RONDELLE M5 |  |  |  |  | AGR4751
21 | LEVIER REGISTRE |  |  |  |  | AGR1743
22 | VIS LEVIER REGISTRE |  |  |  |  | AGR5116
23 | CROCHET DE PLAQUE |  |  |  |  | AGR1764
24 | HOTPLATE CUP SF RAY CKR SPARE |  |  |  |  | AGR1843
25 | HOT PLATE ASSEMBLY |  |  |  |  | AGR1593
26 | JOINT |  |  |  |  | AGR5627
27 | KNOB+CLIP THERM CONTRL SMF |  |  |  |  | AGR2476
28 | PN.4/16216 THER BEZ+F/SCW SUP |  |  |  |  | AGR2050
29 | HOB FILLER ACCESS PLATE SMF/PJ |  |  |  |  | AGRS5E315918
30 | DESSUS NOIR AP.M04-04 |  |  |  |  | AGR5800
31 | NAMEPLATE UP TO NP05-029 |  |  |  |  | AGR5133
32 | GASKET - HINGE TOP |  |  |  |  | AGR4980
33 | LID HINGE (PLTD) |  |  |  |  | AGR4563
34 | JOINT CHARNIERE COUVERCLE |  |  |  |  | AGR4562
35 | TAPPING PLATE |  |  |  |  | AGR4722
36 | SPRING WASHER
37 | BRKT THERM DRIVE LOCATION SMF |  |  |  |  | AGR1619
38 | VIS FIXATION |  |  |  |  | AGR3689
39 | RONDELLE EMBOUT BARRE |  |  |  |  | AGA1472
40 | EMBOUT FIXATION BARRE DECO |  |  |  |  | AGA2314
41 | EMBOUT BARRE DECORATIVE |  |  |  |  | AGA2975
42 | BARRE A TORCHON CHROME |  |  |  |  | AGR1723
43 | CACHE TROU |  |  |  |  | AGR1713
44 | NUT CORNER STAY 3/8" |  |  |  |  | AGR1066
45 | COOKER BURNER DOOR S/ASSY 380 |  |  |  |  | AGR4538
HOB PROTECTOR PLATE, TOP OVEN & WARMING OVEN SEPTEMBRE 2009
1 | NO.5A T'SEAL 15MMX45M LONG |  |  |  |  | AGJTHR20392
2 | HOB PROTECTION PLT SMF NEW TYP |  |  |  |  | AGR1805
3 | ROPE T/SEAL
4 | ROPE T/SEAL
5 | OVEN TOP BACK FLUE PLATE |  |  |  |  | AGR1812
6 | T.O FLUE FEATHER |  |  |  |  | AGR2572
7 | FLUE ASSY T.O. |  |  |  |  | AGR2858
8 | TOP OVEN TOP PLATE |  |  |  |  | AGR1804
9 | TOP OVEN BACK PLATE (NO.5) |  |  |  |  | AGR3853
10 | T.O OVEN SIDE REMOVABLE NB(MX) |  |  |  |  | AGR4128
11 | OVEN SIDE FIXED RHO RAYBURN |  |  |  |  | AGR1915
12 | TOP OVEN FIXING BRACKET |  |  |  |  | AGR2793
13 | TO BOTTOM PLATE 4-RH |  |  |  |  | AGR2597
14 | BRACKET FIRE BOX SIDE FIXING |  |  |  |  | AGR2953
15 | WASHER
16 | OVEN STAY ROD 3/8" X 16.9/16" |  |  |  |  | AGR1761
17 | WARMING OVEN VENT PIPE |  |  |  |  | AGRS2M91495
18 | OVEN RETAINING BRACKET |  |  |  |  | AGR2794
19 | OVEN REFLECTOR DUCT MAIN BODY
20 | FIRE BOX SIDE PLATE(16188) RAY |  |  |  |  | AGR2669
21 | WARMING OVEN ASSY |  |  |  |  | AGR4002
22 | CENTRE ANGLE |  |  |  |  | AGR2688
23 | MEAT TRAY
24 | GRILLE FOUR |  |  |  |  | AGR2573
25 | PLAIN OVEN SHELF
FIREBRICKS AND INSULATION MAI 2007
1 | BRIQUE REFACT. ARR. FOYER RAY 355 |  |  |  |  | AGR1657
2 | BRIQUE REFRACTAIRE ARR. AMOVIBLE |  |  |  |  | AGR1658
3 | BRIQUE REFRACT. DRTE |  |  |  |  | AGR1656
4 | BRIQUE REFACTAIRE AVANT |  |  |  |  | AGR1655
5 | BRIQUE REFRACTAIRE LAT DRT R300W |  |  |  |  | AGR1678
| LAINE ROCHE PACK N°1 |  |  |  |  | AGR6412